## Sheet1
220 | Enter number of working days to equal one FTE
STAFFING AND EQUIPMENT TRACKING SPREADSHEET (EXAMPLE)
TASK | DESCRIPTION | LEVEL OF SERVICE | NPDES Phase II Permit Requirement | Total Units in City | Unit Measure | Estimated Annual Frequency to Meet Level of Service | Average Daily Production | Crew Size | Annual Crew Days | Annual Person Days | Full-Time Equivalent | Equipment | Annual Equipment Use (Days) | COMMENTS
|  |  | (Y/ N) | Enter # Units | Enter Unit | Enter # Times per Year Activity is Performed | Enter # Units Completed per Day | Enter # People | =(E*G)/H | =I*J | =K/A1 | Enter Equipment | =J
MAJOR ACTIVITY: Stormwater Conveyance/Collection
Inspection - City Owned Facilities | Inspect drainage facilities and document maintenance needs (ponds, tanks, swales, etc). | Perform inspections annually. | Yes | 30 | EA | 1 | 8 | 2 | 3.75 | 7.5 | 0.034091 | Pickup | 3.75 | Insert Comments
Inspection - Private Facilities | Inspect drainage facilities and document maintenance needs. -OR- Send inspection reminders and record returned inspection/maintenance records. | Perform inspections annually. | Yes | 45 | EA | 1 | 8 | 1 | 5.625 | 5.625 | 0.025568 | Pickup | 5.625 | Insert Comments
Inspect and Clean Catch Basins | Flushing and removing sediment and debris from catch basins using a vactor or vacall. | Clean each catch basin when sediment and debris have accumulated to 50% of the sump depth or to within 6 inches of the bottom pipe invert. | Yes | 1500 | EA | 1 | 40 | 2 | 37.5 | 75 | 0.34091 | Pickup Vactor | 37.5 | Focus on inspection of all CBs and only clean those that exceed standard
Clean Pond | The mechanical removal of large amounts of debris and sediment from the stormwater detention ponds. | Clean ponds when accumulated sediment exceeds 10% of the designed pond depth. | Yes - as determined by inspection. | 15 | EA | 0.5 | 0.5 | 4 | 15 | 60 | 0.27273 | Pickup Flatbed Dump Truck Trackhoe Dozer | 15 | Insert Comments
Repair Pond | Repair pond/dike/slope erosion and/or settling damage. | Ponds should be reconstructed to meet design standards. Repairs are needed when erosion damage is over 2 inches deep and continued erosion is likely and when any part of the dike has settled 4 inches lower than the design elevation. | Yes - as determined by inspection. | 15 | EA | 0.2 | 0.5 | 4 | 6 | 24 | 0.10909 | Pickup Flatbed Dump Truck Trackhoe Dozer | 6 | Insert Comments
Clean Tank | Remove sediment, debris, and /or pollutants from tanks. | Tanks should be kept clean to ensure optimum functionality. Clean when accumulated sediment at any point exceeds 15% of the diameter of the storage area. | Yes - as determined by inspection. | 2 | EA | 1 | 2 | 3 | 1 | 3 | 0.013636 | Pickup Flatbed Vactor | 1 | Insert Comments
Mowing Vegetation at Facilities | Mow grass/ground cover, remove noxious weeds, prune trees, and prepare landscaping. | Mowing is performed for aesthetics, to control fire hazards, to control woody growth and weeds in the swale, to maintain hydraulic capacity, and to prevent the release of nutrients to the stormwater from dying/decaying plants in the swale. In residential areas growth should not exceed 18". | Yes - as determined by inspection. | 20 | EA | 5 | 3 | 2 | 33.3333 | 66.6667 | 0.30303 | Pickup (2) Flatbed Mower(2) | 33.3333 | Insert Comments
Remove Trash and Debris (Major) | Remove major debris and trash from stormwater treatment facility (ditches, ponds, swales, etc). | Remove debris and trash to ensure proper working of the facility. This task is for large amounts of debris and trash illegally dumped. This task should be scheduled with other work orders for efficiency. | Yes - as determined by inspection. | 30 | EA | 2 | 2 | 3 | 30 | 90 | 0.40909 | Pickup Flatbed Dump Truck Trackhoe | 30 | Part of IDDE
Maintain Treatment Swales | Remove debris, sediment, vegetation, and restore slope on swales. | Swales should be returned to design standards Remove trash when accumulation exceeds approx. 1 standard garbage can. Remove vegetation (see above). Remove accumulated sediment in excess of 10% of design. | Yes - as determined by inspection. | 15 | EA | 0.5 | 2 | 3 | 3.75 | 11.25 | 0.051136 | Pickup Flatbed Dump Truck Trackhoe | 3.75 | This covers sediment removal and major maintenance.
Minor Repairs at Facilities | Repair damaged fences and gates. Repair/Replace facility signs damaged by vandalism or weather. | Fencing and gates should operate smoothly without holes or defects. Repair any defect that would allow easy entry to facility. Allow no opening under the fence more than 4" in height. Repair any part of the fence more than 1' out of design alignment. As needed to keep signs functional and aesthetic as possible. | Yes - as determined by inspection. | 10 | EA | 1 | 1 | 3 | 10 | 30 | 0.13636 | Insert Equipment | 10 | Insert Comments
Clean Conveyance System Pipes With Equipment | Clean material from plugged pipes. | All pipes should be clear and conveyance system should be restored to design standards. Remove accumulated sediment that exceeds 20% of the pipe diameter. Remove any vegetation that reduces free movement of water through pipes. | Yes - as determined by inspection. | 95000 | LF | 0.2 | 1000 | 2 | 19 | 38 | 0.17273 | Pickup Vactor | 19
Repair/Replace Drainage Pipe | Replace or repair drainage pipe or culvert. | Perform when existing culverts have been damaged to the extent that they are functionally restricted. Remove accumulated sediment that exceeds 20% of the pipe diameter. Remove any vegetation that reduces free movement of water through pipes. | Yes - as determined by inspection. | 95000 | LF | 0.033333 | 50 | 3 | 63.3333 | 190 | 0.86364 | Pickup Backhoe Flatbed Trailer Dump Truck | 63.3333 | Insert Comments
Repair/Replace Catch Basin and Grate | Replacement or repair and reconstruction of catch basins. | Catch basins should be repaired or replaced when cracks are wider than 1/2" and longer than 3', or any evidence of soil entering through cracks or when maintenance person judges that the structure is unsound. Also, when basin has settled more than 1" or rotated more than 2" out of alignment. | Yes - as determined by inspection. | 1500 | EA | 0.04 | 3 | 3 | 20 | 60 | 0.27273 | Pickup Backhoe Dump Truck Flatbed | 20 | Insert Comments
Repair Energy Dissipater | Replace rock which is missing from the rock pad, repair catch basin type dissipater. | Replace when only one layer of rock exists above native soil or there is any exposure of native soil. Remove sediment when it exceeds 20% of the design depth. Replace pipe when over 1/2 of pipe perforations are plugged with debris or sediment. | Yes - as determined by inspection. | 30 | EA | 0.1 | 2.5 | 3 | 1.2 | 3.6 | 0.016364 | Pickup Backhoe Dump Truck Flatbed Trailer Insert Additional Equipment | 1.2 | Insert Comments
Repair/Replace Culvert Headers/Trash Racks | Replace or repair of support to the entrance and discharge ends of drainage systems. | Replace metal when barrier bars are bent more than 3" out of shape, or when bars are missing, or when rust is causing 50% deterioration to any part of the barrier. | Yes - as determined by inspection. | 280 | EA | 0.02 | 4 | 3 | 1.4 | 4.2 | 0.019091 | Flatbed Backhoe | 1.4 | Insert Comments
Training | Attend training on proper techniques to protect water quality and maintain stormwater system in proper working order. | Describe typical annual training activities | Yes - as determined by inspection. | 0.5 | DAY | 4 | 2 | 8 | 1 | 8 | 0.036364 | Flatbed Backhoe | 1 | Insert Comments
Recordkeeping | Keep records of stormwater collection and conveyance system maintenance activities. | Keep records for all activities and make annual reports to Ecology. | Yes | 0.125 | DAY | 220 | 1 | 2 | 27.5 | 55 | 0.25 | Computer | 27.5 | Insert Comments
MAJOR ACTIVITY: Roads, Highways, and Parking Lots
Street Sweeping | Clearing of leaves, roadway debris and sediment from roadway storm grates. | Perform cleaning of storm grates once annually and as needed during storm activity to prevent clogging and flooding of roadway. | No | 150 | MI | 18 | 15 | 1 | 180 | 180 | 0.81818 | Sweeper | 180 | Insert Comments
Snow/Ice Removal | Remove snow/ice while avoiding covering drainage inlets. | Remove snow and ice off all major arterials. | No | 150 | MI | 30 | 15 | 2 | 300 | 600 | 2.7273 | Insert Equipment | 300 | Insert Comments
Deicing/Sanding | Perform deicing/sanding with products that have the least adverse environmental impacts. | Deicing/Sanding for all major arterials. | No | 150 | MI | 18 | 10 | 2 | 270 | 540 | 2.4545 | Insert Equipment | 270 | Insert Comments
Slope Mowing | Mowing of roadside, shoulders, ditches and backslopes to preserve sight distance and to ensure proper drainage. | Mowing should be schedules four times annually during growing season to prevent grass from growing taller than 14 inches. Vegetation should be controlled to provide safe sight distance and allow for proper drainage. | No | 75000 | LF | 4 | 4500 | 1.5 | 66.6667 | 100 | 0.45455 | Pickup Slope Mower | 66.6667 | Insert Comments
Ditch Maintenance | Reshaping and cleaning roadside ditches to ensure proper drainage. This task is performed with a motor patrol grader. | Remove accumulated sediment when it exceeds 20% of the design depth. Remove vegetation that reduces free movement of water through ditches. Clean when accumulated sediment exceeds 20% of the design depth, when vegetation reduces free movement of water through the ditch or when excess shoulder sod prevents drainage into ditch. | Yes - as determined by inspection. | 75000 | LF | 0.2 | 3000 | 4 | 5 | 20 | 0.090909 | Pickup Dump Truck Grader Backhoe Sweeper Flatbed | 5 | Insert Comments
Hydroseeding | Spreading seed/mulch on ditches to encourage vegetation growth for filtration. | Spread seed or mulch annually in ditches to enhance water quality and filtration. | Yes - as determined by inspection. | 75000 | LF | 0.3 | 1000 | 1 | 22.5 | 22.5 | 0.10227 | Flatbed | 22.5 | Insert Comments
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 1 | 1 | 1 | 1 | 1 | 0.0045455 | Insert Equipment | 1 | Insert Comments
MAJOR ACTIVITY: Vehicle Fleets
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 1 | 1 | 1 | 1 | 1 | 0.0045455 | Insert Equipment | 1 | Insert Comments
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 1 | 1 | 1 | 1 | 1 | 0.0045455 | Insert Equipment | 1 | Insert Comments
MAJOR ACTIVITY: Municipal Buildings
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 1 | 1 | 1 | 1 | 1 | 0.0045455 | Insert Equipment | 1 | Insert Comments
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 1 | 1 | 1 | 1 | 1 | 0.0045455 | Insert Equipment | 1 | Insert Comments
MAJOR ACTIVITY: Parks and Open Space
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 1 | 1 | 1 | 1 | 1 | 0.0045455 | Insert Equipment | 1 | Insert Comments
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 1 | 1 | 1 | 1 | 1 | 0.0045455 | Insert Equipment | 1 | Insert Comments
MAJOR ACTIVITY: Storage Areas
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 1 | 1 | 1 | 1 | 1 | 0.0045455 | Insert Equipment | 1 | Insert Comments
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 0.3 | 1 | 1 | 0.3 | 0.3 | 0.0013636 | Insert Equipment | 0.3 | Insert Comments
MAJOR ACTIVITY: Flood Management Projects
Facility Inspections | Inspect flood management facilities. | Perform inspections annually. | Yes | 2 | EA | 1 | 1 | 2 | 2 | 4 | 0.018182 | Pickup | 2 | Insert Comments
Landscape Maintenance: Mowing Vegetation/Litter Control | Mow grass/ground cover, remove noxious weeds, prune trees, and prepare landscaping. Pick up litter and other debris. | Mowing is performed for aesthetics, to control fire hazards, to control woody growth and weeds in the swale, to maintain hydraulic capacity, and to prevent the release of nutrients to the stormwater from dying/decaying plants in the swale. In residential areas growth should not exceed 18". | Yes - as determined by inspection. | 2 | EA | 5 | 2 | 1 | 5 | 5 | 0.022727 | Pickup Flatbed Mower | 5 | Insert Comments
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 0.3 | 1 | 1 | 0.3 | 0.3 | 0.0013636 | Insert Equipment | 0.3 | Insert Comments
MAJOR ACTIVITY: Other Maintenance Related Activities
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 1 | 1 | 1 | 1 | 1 | 0.0045455 | Insert Equipment | 1 | Insert Comments
Insert Activity Here | Insert Activity Description Here | Insert Level of Service | Yes/No | 1 | Insert Unit | 1 | 1 | 1 | 1 | 1 | 0.0045455 | Insert Equipment | 1 | Insert Comments
SUMMARY | [7 empty] | Total Annual: | 1141.1583 | 2213.9417 | 10.0634
Note on E14: Otak: Enter number of stormwater facilities that require trash removal
Note on E16: Otak: Enter average number of repairs made on an annual basis
Note on F22: Otak: If each training session lasts 1/2 day, enter 0.5
Note on F23: Otak: If 1 hour per day is spent on recordkeeping: 1/8 = 0.13
Note on G22: Otak: Enter number of trainings attended per year.
Note on G23: Otak: Equals the number of working days (cell A1)